## Sheet1
Hong Kong Science and Technology Parks Corporation
Biomedical Technology Support Centre Equipment List
Tenants & local universities enjoy 50% off
Updated on 3/10/2023 | [6 empty] | # Accessories are charged at $220 for the usage of multiple instruments within a single day
Category | Equipment no. | Location | Equipment name | Model no. | Details | Pricing | Person in charge
Incubation | BSL-005 | 510B, 9W | Orbital Shaking Incubator | Thermo Forma 441 | 25-400 rpm, 10oC above ambient to 60oC | $220/day | Sunny Wong
Contamination Control | BSL-007 | 527, 11W | Chemical Fumehood | Dynaflow 1800 | -- | Accessories# | Sunny Wong
Miscellaneous | BSL-010 | 527, 11W | Ultrasonic Cleaner | Bransonic® 5510 | -- | Accessories# | April Kwan
Miscellaneous | BSL-011 | 510A, 9W | Ultrasonic Cleaner | Bransonic® 5510 | -- | Accessories# | April Kwan
Miscellaneous | BSL-013 | 527, 11W | Ultrasonic Cell Disruptor/Homogenizer | Branson Digital Sonifier® S-450D | For cell disruption and homogenization | Accessories# | Sunny Wong
Cold Storage | BSL-026 | 527, 11W | Refrigerator (4 deg C) | Sanyo MPR - 721 | -- | $100/week $400/month | April Kwan
Miscellaneous | BSL-028 | 527, 11W | Hot Plate with Stirrer | Cimarec® SP 131320-33 | -- | Accessories# | April Kwan
Miscellaneous | BSL-030 | 527, 11W | Hot Plate with Stirrer | Cimarec® SP 131320-33 | -- | Accessories# | April Kwan
Miscellaneous | BSL-031 | 527, 11W | Hot Plate with Stirrer | Cimarec® SP 131320-33 | -- | Accessories# | April Kwan
Miscellaneous | BSL-032 | 527, 11W | Dri-block Heater | Barnstead International Microprocessor control 2000 | 20 wells for 1.5 mL tube | Accessories# | Sunny Wong
Miscellaneous | BSL-033 | 510A, 9W | Dri-block Heater | Barnstead International Microprocessor control 2000 | 20 wells for 1.5 mL tube | Accessories# | Sunny Wong
Miscellaneous | BSL-035 | 510B, 9W | Vortex Mixer | Thermo Scientific Maxi Mix® II M37610-33 | -- | Accessories# | April Kwan
Miscellaneous | BSL-038 | 510A, 9W | Vortex Mixer | Thermo Scientific Maxi Mix® II | -- | Accessories# | April Kwan
Miscellaneous | BSL-054 | 510A, 9W | Nitrogen Evaporator | Organomation N-EVAP 112 | 24 holders for 50 mL tubes | $60/4 hours | Sunny Wong
Centrifugation | BSL-055 | 510A, 9W | Microcentrifuge | Eppendorf 5424 | -- | Accessories# | Sunny Wong
Miscellaneous | BSL-060 | 510A, 9W | Rocker | Labquake 415220 | -- | Accessories# | Sunny Wong
Miscellaneous | BSL-061 | 527, 11W | Ultrasonic Cleaner | Crest 275DGA | -- | Accessories# | April Kwan
Miscellaneous | BSL-062 | 527, 11W | Vortex Mixer | Labquake SI-T246 | -- | Accessories# | April Kwan
Miscellaneous | BSL-066 | 527, 11W | Power Supply for SDS-PAGE | Amersham Biosciences | -- | Accessories# | Billy Cheng
Miscellaneous | BSL-067 | 527, 11W | Power Supply for SDS-PAGE | Amersham Biosciences | -- | Accessories# | Billy Cheng
Cold Storage | BSL-071 | 510A, 9W | Freezer (-20 deg C) | Thermo Forma 727 | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-072 | 510A, 9W | Refrigerator (4 deg C) | Recvo REL2304V21 | -- | $100/week $400/month | April Kwan
Contamination Control | BSL-073 | 510A, 9W | Biosafety Cabinet | Thermo Model 1386 Series A2, Class II, Type A2 | For the work of clean reagents and materials preparation | Accessories# | Sally Cheung
Contamination Control | BSL-074 | 510A, 9W | Chemical Fumehood | HAMILTON H series 1500 single-sided (CM02 controller) | -- | Accessories# | Sunny Wong
Contamination Control | BSL-075 | 510A, 9W | Chemical Fumehood | HAMILTON H series 1500 single-sided (CM02 controller) | -- | Accessories# | Sunny Wong
Centrifugation | BSL-078 | 510B, 9W | Refrigerated Centrifuge | Beckman Coulter Allegra 25R | With 24 place 0.4- 2.0 ml rotor, multiwell plate rotor | Accessories# | Sunny Wong
Cold Storage | BSL-080 | 510A, 9W | Freezer (-20 deg C) | Revco ULT-430W | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-081 | 510A, 9W | Freezer (-20 deg C) | Revco ULT-430W | -- | $250/week $1000/month | April Kwan
Contamination Control | BSL-082 | 510B, 9W | Biosafety Cabinet | Labconco Class II A2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Miscellaneous | BSL-089 | 510A, 9W | Electroporator | Harvard Apparatus BTX ECM 830 | Voltage range: 5-3000 V Pluse duration: 10 µs to 10 s *requires cuvette | Accessories# | Sunny Wong
Analytical Instruments | BSL-090 | 510A, 9W | Real Time - PCR | Roche LC 480 | 96-well format Reaction volume: 10-100 µL Support SYBR Green, TaqMan, HRM assays *requires LC480 96-well plate | $120/hour | Billy Cheng
Miscellaneous | BSL-091 | 510A, 9W | Vertical Diffusion Cell System | Hanson 6-cell manual test system (58-6M) | With manual sampling syringe, circulating waterbath and jacketed media replace beaker | Accessories# | Billy Cheng
Analytical Instruments | BSL-092 | 510A, 9W | Thermal Cycler | Biorad C1000 Touch | 96-well format, with gradient function Reaction volume: 10-50 µL | $60/hour | Sunny Wong
Contamination Control | BSL-094 | 510B, 9W | Portable Autoclave | Hirayama HG-50 | For autoclaving of waste and contaminated materials | $220/run | Sunny Wong
Imaging & Microscopy | BSL-096 | 510A, 9W | Stereomicroscope | Leica S4 E Stereozoom | Magnification of 6.3X to 30X | Accessories# | Billy Cheng
Miscellaneous | BSL-097 | 510A, 9W | Micro-injection System | Eppendorf TransferMan NK2 and FemtoJet | Integrated coarse and fine manipulator control via joystick Injection volume from femtoliters to microliters | Accessories# | Billy Cheng
Miscellaneous | BSL-098 | 510A, 9W | Micropipette Puller and Microforge | Narishige PC-10 micropipette puller and MF-900 microforge | Micropipette puller - single/double pull mode Microforge - separate rotation for vertical and horizontal movement, foot switch for heater ON/OFF | Accessories# | Billy Cheng
Analytical Instruments | BSL-099 | 510A, 9W | Microvolume UV-Vis Spectrophotometer | Nanodrop 2000c | Allows measurement using cuvette | Accessories# | Sunny Wong
Imaging & Microscopy | BSL-100 | 510B, 9W | Fluorescence Inverted Microscope | Carl Zeiss Axio Observer A1 | Image capture Filter cube for viewing DAPI, GFP and Cy3 | Accessories# | Billy Cheng
Cold Storage | BSL-102 | 527, 11W | Refrigerator (4 deg C) | Thermo R700-GAEW-TSC | -- | $100/week $400/month | April Kwan
Cold Storage | BSL-103 | 510B, 9W | Refrigerator (4 deg C) | Thermo R700-GAEW-TSC | -- | $100/week $400/month | April Kwan
Cold Storage | BSL-104 | 527, 11W | Freezer (-20 deg C) | Thermo F700-SAEW-TSC | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-105 | 527, 11W | Freezer (-80 deg C) | Thermo TSX600V | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-106 | 527, 11W | Freezer (-80 deg C) | Thermo TSX600V | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-107 | 510B, 9W | Cryopreservation Storage Equipment | Thermo Locator Jr. Plus | 4 racks, each rack can hold 5 boxes | $1000/box/month | Sunny Wong
Miscellaneous | BSL-108 | 510A, 9W | Water Purification System | Pall Cascada I | Provides 18.2 MΩ.cm type I water | Accessories# | Sunny Wong
Incubation | BSL-109 | 510A, 9W | Thermal Mixer | Thermomixer C | With adapter for 1.5 mL tube and flat bottom plate | Accessories# | Sunny Wong
Analytical Instruments | BSL-110 | 510A, 9W | Texture Analyzer | Stable Micro Systems TA.XT. plus | Equipped with 500 g and 5 kg loadcell | $120/hour | Sunny Wong
Centrifugation | BSL-111 | 527, 11W | Ultracentrifuge | Beckman Coulter Optima XPN 100 | Three rotors: Swinging bucket, 6 x 38.5 mL, 28,000 rpm, 141,000 x g Swinging bucket, 6 x 13.2 mL, 41,000 rpm, 288, 000 xg Fixed angle, 8 x 13.5 mL, 90,000 rpm, 694,000 x g | $220/day | Sunny Wong
Miscellaneous | BSL-114 | 510A, 9W | Analytical Balance | Sartorius SECURA225D-1S | 0-120 g, readability 0.01 mg | Accessories# | April Kwan
Miscellaneous | BSL-115 | 510A, 9W | Analytical Balance | Sartorius ENTRIS5201-1S | 0-5,200 g, readability 0.1 g | Accessories# | April Kwan
Miscellaneous | BSL-116 | 527, 11W | Analytical Balance | Sartorius SECURA225D-1S | 0-120 g, readability 0.01 mg | Accessories# | April Kwan
Miscellaneous | BSL-117 | 527, 11W | Analytical Balance | Sartorius ENTRIS5201-1S | 0-5,200 g, readability 0.1 g | Accessories# | April Kwan
Imaging & Microscopy | BSL-118 | 510B, 9W | Automated Cell Counter | Thermo Countess II FL | With fluorescence cube for DAPI, GFP and RFP channel | Accessories# | Billy Cheng
Centrifugation | BSL-119 | 510B, 9W | Refrigerated Centrifuge | Eppendorf 5430R | Rotors for 1.5/2 mL, 15 mL and 50 mL tubes | Accessories# | Sunny Wong
Centrifugation | BSL-120 | 527, 11W | Refrigerated Centrifuge | Eppendorf 5430R | Rotors for 1.5/2 mL, 15 mL and 50 mL tubes | Accessories# | Sunny Wong
Incubation | BSL-121 | Room B, 510B, 9W | Carbon Dioxide Incubator | Thermo HERA VIOS 160i | Can achieve hypoxia conditions | $120/day | April Kwan
Incubation | BSL-122 | Room C, 510B, 9W | Carbon Dioxide Incubator | Thermo HERA VIOS 160i | Can achieve hypoxia conditions | $120/day | April Kwan
Contamination Control | BSL-123 | 701, 17W (Pre-PCR Room) | Biosafety Cabinet | Thermo 1300 Series Class II, Type A2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Incubation | BSL-124 | 510B, 9W | Water Bath | Thermo Precision 10L GP | -- | Accessories# | April Kwan
Incubation | BSL-125 | 525A, 11W | Water Bath | Thermo Precision 10L GP | -- | Accessories# | April Kwan
Contamination Control | BSL-126 | 527, 11W | Vertical Autoclave | Hirayama HG-133 | For autoclaving clean items | $220/run | Sunny Wong
Sample Processing | BSL-127 | 525B, 11W | Freeze Dryer | Labconco FreeZone Plus (-84° C) 4.5 Liter | -- | $220/day | April Kwan
Imaging & Microscopy | BSL-128 | 510B, 9W | Cell Culture Microscope | Thermo EVOS XL Core | -- | Accessories# | Billy Cheng
Miscellaneous | BSL-129 | 527, 11W | Ice Maker | HOSHIZAKI FM-150KE | -- | Accessories# | Sunny Wong
Incubation | BSL-130 | 510B, 9W | Bacterial Incubator | Thermo HERATHERM IGS60 | Maintained at 37oC | Accessories# | Sunny Wong
Analytical Instruments | BSL-131 | 510A, 9W | Thermal Cycler | Applied Biosystems Veriti 96-well | Supports 96-well plate, 8-well strip Single dome shape 0.2 mL PCR tube | $60/hour | Sunny Wong
Centrifugation | BSL-132 | 510B, 9W | Refrigerated Centrifuge | Eppendorf 5702R | Swing bucket rotor A-4-38, with 15/50 mL adapters | Accessories# | Sunny Wong
Chromatography & Mass Spectrometry | BSL-133 | 510A, 9W | Ultra Performance Liquid Chromatography System | Waters ACQUITY I Class | Up to 18,000 psi PDA eλ detector: 190-800 nm Flow through needle design to reduce carryover *requires column, solvents and vials | $220/hour | April Kwan
Centrifugation | BSL-134 | 510B, 9W | Refrigerated Centrifuge | Eppendorf 5804R | -- | Accessories# | Sunny Wong
Cold Storage | BSL-135 | 101-103, 15W | Freezer (-80 deg C) | Thermo TSX600V | -- | $250/week $1000/month | Alvina Wong
Cold Storage | BSL-136 | 510A, 9W | Freezer (-80 deg C) | Thermo TSX600V | -- | $250/week $1000/month | April Kwan
Analytical Instruments | BSL-137 | 101-103, 15W | Thermal Cycler | Biorad C1000 Touch | Dual block, 48 wells each | $60/hour | Sally Cheung
Centrifugation | BSL-138 | 101-103, 15W | Refrigerated Centrifuge | Beckman Coulter Microfuge 20R | Fixed-angle rotor for 24x1.5 mL & 2.0 mL tubes | Accessories# | Alvina Wong
Centrifugation | BSL-139 | 101-103, 15W | Refrigerated Centrifuge | Beckman Coulter Avanti J-15R | JS-4.750 rotor for microplates, 56x15 mL and 28x50 mL conical tubes | Accessories# | Alvina Wong
Centrifugation | BSL-140 | 101-103, 15W | Floor Centrifuge | Beckman Coulter Avanti JXN-26 | JLA-16.250 rotor for 6x250 mL bottles, 24x15 mL and 6x50 mL conical tubes | $60/hour | Alvina Wong
Cold Storage | BSL-141 | 510B, 9W | Cryopreservation Storage Equipment | Thermo Locator Jr. Plus | 4 racks, each rack can hold 5 boxes | $1000/box/month | Sunny Wong
Cold Storage | BSL-142 | 101-103, 15W | Combined Refrigerator/Freezer | PHCbi MPR-414F | -- | $250/week $1000/month | Alvina Wong
Cold Storage | BSL-143 | 101-103, 15W | Combined Refrigerator/Freezer | PHCbi MPR-414F | -- | $250/week $1000/month | Alvina Wong
Cold Storage | BSL-144 | 101-103, 15W | Refrigerator (4 deg C) | PHCbi MPR-721 | -- | $100/week $400/month | Alvina Wong
Cold Storage | BSL-145 | 101-103, 15W | Refrigerator (4 deg C) | PHCbi MPR-721 | -- | $100/week $400/month | Alvina Wong
Cold Storage | BSL-146 | 101-103, 15W | Freezer (-20 deg C) | Haier DW-30L818 | -- | $250/week $1000/month | Alvina Wong
Cold Storage | BSL-147 | 101-103, 15W | Freezer (-20 deg C) | Haier DW-30L818 | -- | $250/week $1000/month | Alvina Wong
Analytical Instruments | BSL-148 | 101-103, 15W | Microvolume UV-Vis Spectrophotometer | Nanodrop OneC Wi-Fi | Allows measurement using cuvette | Accessories# | Alvina Wong
Imaging & Microscopy | BSL-149 | 101-103, 15W | Automated Cell Counter | Thermo Countess II FL | -- | Accessories# | Alvina Wong
Imaging & Microscopy | BSL-150 | 101-103, 15W | Automated Cell Counter | Thermo Countess II FL | -- | Accessories# | Alvina Wong
Centrifugation | BSL-151 | 101-103, 15W | Refrigerated Centrifuge | Thermo ST8R | -- | Accessories# | Alvina Wong
Centrifugation | BSL-152 | 101-103, 15W | Refrigerated Centrifuge | Thermo ST8R | -- | Accessories# | Alvina Wong
Contamination Control | BSL-153 | 101-103, 15W | Biosafety Cabinet | Thermo 1300 Series Class II, Type A2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Contamination Control | BSL-154 | 101-103, 15W | Biosafety Cabinet | Thermo 1300 Series Class II, Type A2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Contamination Control | BSL-155 | 101-103, 15W | Biosafety Cabinet | Thermo 1300 Series Class II, Type A2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Contamination Control | BSL-156 | 101-103, 15W | Biosafety Cabinet | Thermo 1300 Series Class II, Type A2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Incubation | BSL-157 | 101-103, 15W | Carbon Dioxide Incubator | Thermo Heracell VIOS 160i | Can achieve hypoxia conditions | $120/day | Sally Cheung
Incubation | BSL-158 | 101-103, 15W | Carbon Dioxide Incubator | Thermo Heracell VIOS 160i | Can achieve hypoxia conditions | $120/day | Sally Cheung
Incubation | BSL-159 | 101-103, 15W | Carbon Dioxide Incubator | Thermo Heracell VIOS 160i | Can achieve hypoxia conditions | $120/day | Sally Cheung
Incubation | BSL-160 | 101-103, 15W | Carbon Dioxide Incubator | Thermo Heracell VIOS 160i | Can achieve hypoxia conditions | $120/day | Sally Cheung
Incubation | BSL-161 | 101-103, 15W | Water Bath | Thermo Precision 10L GP | -- | Accessories# | Alvina Wong
Incubation | BSL-162 | 101-103, 15W | Water Bath | Thermo Precision 10L GP | -- | Accessories# | Alvina Wong
Incubation | BSL-163 | 101-103, 15W | Water Bath | Thermo Precision 10L GP | -- | Accessories# | Alvina Wong
Imaging & Microscopy | BSL-164 | 101-103, 15W | Cell Culture Microscope | Nikon Ts2 Inverted Microscope | -- | Accessories# | Sally Cheung
Imaging & Microscopy | BSL-165 | 101-103, 15W | Cell Culture Microscope | Nikon Ts2-FL Inverted Microscope | Fitted with DAPI, FITC and TRITC filter cubes | Accessories# | Sally Cheung
Imaging & Microscopy | BSL-166 | 101-103, 15W | Gel Documentation System | Bio-Rad ChemiDoc MP | Chemiluminescent detection without film Three channel RGB excitation Two channel infrared (IR) direct detection | $120/hour | Sally Cheung
Miscellaneous | BSL-167 | 101-103, 15W | Ice Maker | Hoshizaki FM-150KE | -- | Accessories# | Alvina Wong
Contamination Control | BSL-168 | 101-103, 15W | Portable Autoclave | Hirayama HG-50 | For autoclaving waste and contaminated materials | $220/run | Sally Cheung
Contamination Control | BSL-169 | 101-103, 15W | Portable Autoclave | Hirayama HG-50 | For autoclaving clean items | $220/run | Sally Cheung
Incubation | BSL-170 | 101-103, 15W | Convection Oven | Froilabo AP 120 | -- | Accessories# | Alvina Wong
Incubation | BSL-171 | 101-103, 15W | Convection Oven | Froilabo AP 120 | -- | Accessories# | Alvina Wong
Miscellaneous | BSL-172 | 510A, 9W | Water purification system | MilliQ Reference A+ | -- | Accessories# | Sunny Wong
Miscellaneous | BSL-173 | 101-103, 15W | Water Purification System | MilliQ Reference A+ | Provides 18.2 MΩ.cm water | Accessories# | Alvina Wong
Incubation | BSL-174 | 101-103, 15W | CO2 Resistant Shaker | Thermo MaxQ 2000 CO2 Plus | -- | Accessories# | Alvina Wong
Contamination Control | BSL-175 | 101-103, 15W | Chemical Fumehood | Waldner Series chemical fumehood | -- | Accessories# | Sally Cheung
Cold Storage | BSL-176 | 510B, 9W | Undercounter Laboratory Refrigerator | Haier HYC-118A | -- | Accessories# | April Kwan
Analytical Instruments | BSL-177 | 510A, 9W | UV-Vis Spectrophotometer | Agilent Cary 3500 | Double beam, 190–1100 nm 8 cuvette positions 4 temperature controlled zones | Accessories# | Sunny Wong
Centrifugation | BSL-178 | 527, 11W | Floor Centrifuge | Beckman Coulter Avanti JXN-26 | JLA-16.250 for 6x250ml bottles, JS-5.3 for 72x15mL or 28x50mL tubes and JA-30.50Ti for 8x50ml conical tubes | $60/hour | Sunny Wong
Incubation | BSL-179 | 527, 11W | Convection Oven | Froilabo AP 120 | 120 L, ambient +10oC to +250oC | Accessories# | Sunny Wong
Incubation | BSL-180 | 527, 11W | Convection Oven | Froilabo AP 120 | 120 L, ambient +10oC to +250oC | Accessories# | Sunny Wong
Contamination Control | BSL-181 | 525A, 11W | Biosafety Cabinet | Nuair Labgard 437-600S Class 2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Contamination Control | BSL-182 | 525A, 11W | Biosafety Cabinet | Nuair Labgard 437-600S Class 2 | For the work of biosafety level 2 or below materials in the absence of volatile toxic chemicals | Accessories# | Sally Cheung
Incubation | BSL-183 | 101-103, 15W | Thermo mixer | HCM100-Pro LCD digital thermo mix | -- | Accessories# | Alvina Wong
Analytical Instruments | BSL-184 | 101-103, 15W | Real Time - PCR | Applied Biosystems QS7 Flex | 96 and 384-well format 0.2ml well block for 96-well format Supports SYBR Green, TaqMan, HRM assays | $120/hour | Sally Cheung
Miscellaneous | BSL-185 | 701, 17W (Laundry Room) | Washing Machine | Whirlpool FSCR10432 | -- | $60/hour | Kim Lam
Miscellaneous | BSL-186 | 701, 17W (Laundry Room) | Laundry Dryer | Whirlpool HSCX90424 | -- | $60/hour | Kim Lam
Sample Processing | BSL-187 | 527, 11W | Rotary Evaporation System | Heidolph Hei-VAP Expert | With Chilling condenser | $60/hour | Sunny Wong
Contamination Control | BSL-188 | 107A, 15W | Biosafety Cabinet | Thermo 1300 Series Class A2 | -- | Accessories# | Sally Cheung
Contamination Control | BSL-189 | 107A, 15W | Biosafety Cabinet | Thermo 1300 Series Class A2 | -- | Accessories# | Sally Cheung
Incubation | BSL-190 | Room A, 510B, 9W | Carbon Dioxide Incubator | Thermo Heracell VIOS 160i | -- | $120/day | April Kwan
Incubation | BSL-191 | 107A, 15W | Carbon Dioxide Incubator | Thermo Heracell VIOS 160i | -- | $120/day | Sally Cheung
Cold Storage | BSL-192 | 101-103, 15W | Cryopreservation Storage Equipment | Thermo Locator Jr. Plus | -- | $1000/box/month | Alvina Wong
Cold Storage | BSL-193 | 107A, 15W | Cryopreservation Storage Equipment | Thermo Locator Jr. Plus | -- | $1000/box/month | Alvina Wong
Cold Storage | BSL-194 | 510B, 9W | Cryopreservation Storage Equipment | Thermo Locator 4 Plus | 4 racks, each rack can hold 5 boxes | $1000/box/month | Sunny Wong
Imaging & Microscopy | BSL-195 | 107A, 15W | EVOS Light Microscope | EVOS light microscope | -- | Accessories# | Sally Cheung
Centrifugation | BSL-196 | 107A, 15W | Refrigerated Centrifuge | Thermo ST8R |  | Accessories# | Alvina Wong
Incubation | BSL-197 | 107A, 15W | Water Bath | Thermo Precision 10L GP | -- | Accessories# | Alvina Wong
Imaging & Microscopy | BSL-198 | 107A, 15W | Automated Cell Counter | Thermo Countess II FL | -- | Accessories# | Alvina Wong
Incubation | BSL-199 | 701, 17W (QC Station) | Thermo Mixer | Eppendorf ThermoMixer C | -- | Accessories# | Christy Chan
Incubation | BSL-200 | 701, 17W (Pre-PCR Room) | Thermo Mixer | Eppendorf ThermoMixer C | -- | Accessories# | Ying Ying Lee
Incubation | BSL-201 | 510A, 9W | Thermo Mixer | Eppendorf ThermoMixer C | -- | Accessories# | Sunny Wong
Analytical Instruments | BSL-202 | 701, 17W (Post-PCR Room) | Thermal Cycler | VeritiPro Thermal Cycler | -- | $60/hour | Christy Chan
Analytical Instruments | BSL-203 | 701, 17W (Post-PCR Room) | Thermal Cycler | VeritiPro Thermal Cycler | -- | $60/hour | Ying Ying Lee
Analytical Instruments | BSL-204 | 701, 17W (Post-PCR Room) | Thermal Cycler | VeritiPro Thermal Cycler | -- | $60/hour | Christy Chan
Analytical Instruments | BSL-205 | 701, 17W (Pre-PCR Room) | Thermal Cycler | VeritiPro Thermal Cycler | -- | $60/hour | Ying Ying Lee
Analytical Instruments | BSL-206 | 701, 17W (Pre-PCR Room) | Thermal Cycler | VeritiPro Thermal Cycler | -- | $60/hour | Christy Chan
Centrifugation | BSL-207 | 701, 17W (Pre-PCR Room) | Benchtop Centrifuge | Thermo Scientific Sorvall ST8 Benchtop Centrifuge | -- | Accessories# | Ying Ying Lee
Centrifugation | BSL-208 | 701, 17W (Post-PCR Room) | Benchtop Centrifuge | Thermo Scientific Sorvall ST8 Benchtop Centrifuge | -- | Accessories# | Christy Chan
Centrifugation | BSL-209 | 701, 17W (Post-PCR Room) | Refrigerated Benchtop Centrifuge | Thermo Scientific Sorvall ST8R Refrigerated Benchtop Centrifuge | -- | Accessories# | Christy Chan
Centrifugation | BSL-210 | 701, 17W (Pre-PCR Room) | Refrigerated Benchtop Centrifuge | Thermo Scientific Sorvall ST8R Refrigerated Benchtop Centrifuge | -- | Accessories# | Ying Ying Lee
Analytical Instruments | BSL-211 | 701, 17W (QC Station) | Real Time - PCR | Roche LC 480 | 96 and 384 well formats Reaction volume: 10-100 µL Support SYBR Green, TaqMan, HRM assays *requires LC480 96-well plate | $120/hour | Kim Lam
Cold Storage | BSL-212 | 111-113 & 115, 11W | Refrigerator (4 deg C) | Thermo- TSX2305GV | -- | $100/week $400/month | April Kwan
Cold Storage | BSL-213 | 510B, 9W | Refrigerator (4 deg C) | Thermo- TSX2305GV | -- | $100/week $400/month | April Kwan
Cold Storage | BSL-214 | 701, 17W (Post-PCR Room) | Refrigerator (4 deg C) | Thermo- TSX2305GV | -- | $100/week $400/month | Christy Chan
Cold Storage | BSL-215 | 701, 17W (Post-PCR Room) | Freezer (-20 deg C) | Thermo- TSX2330FV | -- | $250/week $1000/month | Christy Chan
Cold Storage | BSL-216 | 111-113 & 115, 11W | Freezer (-20 deg C) | Thermo- TSX2330FV | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-217 | 701, 17W (Reagent Prep Room) | Freezer (-20 deg C) | Thermo- TSX2330FV | -- | $250/week $1000/month | Kim Lam
Cold Storage | BSL-218 | 111-113 & 115, 11W | Freezer (-20 deg C) | Thermo- TSX2330FV | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-219 | 701, 17W (Pre-PCR Room) | Freezer (-80 deg C) | Thermo- TSX40086V | -- | $250/week $1000/month | Ying Ying Lee
Cold Storage | BSL-220 | 701, 17W (QC Station) | Freezer (-80 deg C) | Thermo- TSX40086V | -- | $250/week $1000/month | Kim Lam
Contamination Control | BSL-221 | 701, 17W (Pre-PCR Room) | Clean Bench PCR-Work Station (laminar-flow) | Esco-PCR-4A1 | -- | $500/4 hours $2500/week | Ying Ying Lee
Contamination Control | BSL-222 | 701, 17W (Pre-PCR Room) | Clean Bench PCR-Work Station (laminar-flow) | Esco-PCR-4A1 | -- | $500/4 hours $2500/week | Ying Ying Lee
Contamination Control | BSL-223 | 701, 17W (Post-PCR Room) | Clean Bench PCR-Work Station (laminar-flow) | Esco-PCR-4A1 | -- | $500/4 hours $2500/week | Christy Chan
Contamination Control | BSL-224 | 701, 17W (Post-PCR Room) | Clean Bench PCR-Work Station (laminar-flow) | Esco-PCR-4A1 | -- | $500/4 hours $2500/week | Christy Chan
Contamination Control | BSL-225 | 701, 17W (Post-PCR Room) | Clean Bench PCR-Work Station (laminar-flow) | Esco-PCR-4A1 | -- | $500/4 hours $2500/week | Christy Chan
Miscellaneous | BSL-227 | 701, 17W (QC Station) | Concentrator | Eppendorf Concentrator Plus | -- | Accessories# | Kim Lam
Miscellaneous | BSL-228 | 510A, 9W | Concentrator | Eppendorf Concentrator Plus | -- | Accessories# | Sunny Wong
Cold Storage | BSL-229 | 701, 17W (Pre-PCR Room) | Refrigerator (4 deg C) | PHCbi - MPR-S500H | -- | $100/week $400/month | Ying Ying Lee
Cold Storage | BSL-230 | 701, 17W (Pre-PCR Room) | Refrigerator (4 deg C) | PHCbi - MPR-S500H | -- | $100/week $400/month | Kim Lam
Cold Storage | BSL-231 | 111-113 & 115, 11W | Freezer (-20 deg C) | PHCbi - MDF-MU539HL | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-232 | 701, 17W (Pre-PCR Room) | Freezer (-20 deg C) | PHCbi - MDF-MU539HL | -- | $250/week $1000/month | Ying Ying Lee
Cold Storage | BSL-233 | 701, 17W (QC Station) | Freezer (-20 deg C) | PHCbi - MDF-MU539HL | -- | $250/week $1000/month | Ying Ying Lee
Cold Storage | BSL-234 | 111-113 & 115, 11W | Freezer (-80 deg C) | PHCbi - MDF-DU702VX | -- | $250/week $1000/month | April Kwan
Cold Storage | BSL-235 | 510B, 9W | Freezer (-80 deg C) | PHCbi - MDF-DU702VX | -- | $250/week $1000/month | April Kwan
Miscellaneous | BSL-236 | 510A, 9W | Microplate Washer | Tecan Hydroflex | -- | Accessories# | Sunny Wong
Imaging & Microscopy | BSL-237 | 510A, 9W | Gel Documentation System | Invitrogen iBright FL1500 | -- | $120/hour | Sunny Wong
Contamination Control | BSL-240 | Room A, 510B, 9W | Biosafety Cabinet | ESCO AC2-4S8-NS | -- | Accessories# | Sally Cheung
Contamination Control | BSL-241 | Room B, 510B, 9W | Biosafety Cabinet | ESCO AC2-4S8-NS | -- | Accessories# | Sally Cheung
Contamination Control | BSL-242 | Room C, 510B, 9W | Biosafety Cabinet | ESCO AC2-4S8-NS | -- | Accessories# | Sally Cheung
Miscellaneous | BSL-243 | 701, 17W (QC Station) | Analytical Balance | Sartorius BCE5201I-1S | 0-5200 g, repeatability 0.1 g | Accessories# | Kim Lam
Miscellaneous | BSL-244 | 701, 17W (QC Station) | Analytical Balance | Sartorius Secura 225D-1S | 0-120 g, repeatability 0.01 mg | Accessories# | Kim Lam
Miscellaneous | BSL-245 | 701, 17W (Pre-PCR Room) | Ice Maker | Biobase Flake Ice Maker | -- | Accessories# | Ying Ying Lee
Miscellaneous | BSL-246 | 701, 17W (QC Station) | Ice Maker | Biobase Flake Ice Maker | -- | Accessories# | Kim Lam
Miscellaneous | BSL-247 | 6/F, 6W | Lab Water Purification System | ELGA LabWater PURELAB | -- | Accessories# | Amber Lee
Analytical Instruments | BSL-248 | 701, 17W (QC Station) | Fluorometer | DeNovix QFX | -- | Accessories# | Kim Lam
Analytical Instruments | BSL-249 | 701, 17W (Pre-PCR Room) | Fluorometer | DeNovix QFX | -- | Accessories# | Ying Ying Lee
Incubation | BSL-250 | 701, 17W (QC Station) | Stirring Hotplates | Thermo Scientific Cimarec+ Stirring Hotplates | -- | Accessories# | Kim Lam
Miscellaneous | BSL-251 | 701, 17W (QC Station) | pH Meter | Sartorius PB-30L pH Meter | -- | Accessories# | Kim Lam
Analytical Instruments | BSL-252 | 701, 17W (QC Station) | Microvolume UV-Vis Spectrophotometer | DeNovix DS-11 | -- | Accessories# | Kim Lam
Miscellaneous | BSL-253 | 527, 11W | Laboratory Glassware Washer | Steelco LAB500 DRS | -- | Accessories# | Sunny Wong
Contamination Control | BSL-254 | 701, 17W (QC Station) | Chemical Fume hood | CHC Lab A-BY-1500 | -- | Accessories# | Kim Lam
Chromatography & Mass Spectrometry | BSL-255 | 111-113 & 115, 11W | Flash Chromatography System | Biotage® Selekt | Supports cartridge 10g, 25g, 100g and 350g Silica Column 10g & 25g | $220/hour | Sunny Wong
Contamination Control | BSL-256 | 6/F, 6W | Portable Autoclave | Hirayama HG-50 | -- | $220/run | Amber Lee
Contamination Control | BSL-257 | 6/F, 6W | Portable Autoclave | Hirayama HG-50 | -- | $220/run | Amber Lee
Centrifugation | BSL-260 | 510B, 9W | Refrigerated Centrifuge | Beckman Coulter Allegra V-15R | -- | Accessories# | Sunny Wong
Centrifugation | BSL-261 | 6/F, 6W | Refrigerated Centrifuge | Beckman Coulter Allegra V-15R | -- | Accessories# | Amber Lee
Centrifugation | BSL-262 | 527, 11W | Floor Centrifuge | Beckman Coulter Avanti JXN-26 | -- | $60/hour | Sunny Wong
Cold Storage | BSL-263 | 6/F, 6W | Refrigerator (4 deg C) | PHCbi - MPR-S500H | -- | $100/week $400/month | Amber Lee
Cold Storage | BSL-264 | 6/F, 6W | Refrigerator (4 deg C) | PHCbi - MPR-S500H | -- | $100/week $400/month | Amber Lee
Cold Storage | BSL-265 | 6/F, 6W | Freezer (-20 deg C) | PHCbi - MDF-MU539HL | -- | $250/week $1000/month | Amber Lee
Cold Storage | BSL-266 | 6/F, 6W | Freezer (-20 deg C) | PHCbi - MDF-MU539HL | -- | $250/week $1000/month | Amber Lee
Cold Storage | BSL-267 | 6/F, 6W | Freezer (-80 deg C) | PHCbi - MDF-DU702VX | -- | $250/week $1000/month | Amber Lee
Miscellaneous | BSL-268 | 6/F, 6W | Vortex mixer |  | -- | Accessories# | Amber Lee
Miscellaneous | BSL-269 | 6/F, 6W | pH Meter | Sartorius PB-30L pH Meter | -- | Accessories# | Amber Lee
Miscellaneous | BSL-270 | 6/F, 6W | Analytical Balance | Sartorius BCE5201I-1S | -- | Accessories# | Amber Lee
Miscellaneous | BSL-271 | 6/F, 6W | Analytical Balance | Sartorius Secura 225D-1S | -- | Accessories# | Amber Lee
Miscellaneous | BSL-272 | 6/F, 6W | Lab Water Purification System | Elga Flex 2 | -- | Accessories# | Amber Lee
Miscellaneous | BSL-273 | 701, 17W (QC Station) | Lab Water Purification System | Elga Flex 2 | -- | Accessories# | Kim Lam
Sample Processing | BSL-274 | 6/F, 6W | Rotary Evaporation System | Heidolph Hei-VAP Expert | With Chilling condenser | $60/hour | Sunny Wong
Analytical Instruments | LAP-001 | 510A, 9W | Immunoassay Analyzer | Millipore Luminex 200 | 96-well plate format Detects up to 100 analytes per well Detects and distinguishes surface reporter fluorescence emissions at 575 nm on microsphere | $120/hour | Ying Ying Lee
Analytical Instruments | LAP-002 | 510A, 9W | Multimode Microplate Reader | Thermo Varioskan Flash | Fluorometry: 6-1536 well plate; excitation: 200-1000 nm; emission: 270-840 nm Luminometry: 6-1536 well plate; 360-670 nm; spectral scanning 270-840 nm Photometry: 6-384 well plate; 200-1000 nm | $60/hour | Sunny Wong
Imaging & Microscopy | LAP-003 | 510A, 9W | Fully Automated Inverted Fluorescence Microscope | Leica DMI6000 B (with CO2 incubator) | Supports bright field, phase contrast, DIC Available fluorescence filter: Red (Cy3), Green (FITC), Blue (DAPI), YFP, CFP SIM - produce confocal-like images Max. magnification: 1200X | $60/hour | Billy Cheng
Imaging & Microscopy | LAP-004-1 | 701, 17W (Imaging Core) | Fully Automated Upright Fluorescence Microscope | Leica DM6000 B | Supports bright field, phase contrast, DIC Available fluorescence filter: Red (Cy3), Green (FITC), Blue (DAPI), YFP, CFP High resolution color camera Max. magnification: 1000X | $60/hour | Christy Chan
Imaging & Microscopy | LAP-004-2 | 701, 17W (Pre-PCR Room) | Inverted Fluorescence Microscope | Leica DMI3000 B (with perfusion system) | Supports bright field, DIC, IMC, IPH Available fluorescence filter: Red (Cy3), Green (FITC), Blue (DAPI) | $60/hour | Christy Chan
Incubation | LAP-006 | 510B, 9W | Incubator Shaker (with refrigeration) | New Brunswick Innova 40R | Temp range: 15oC below ambient to 80oC (min. 4oC) Speed range: 25-500 rpm | $100/day | Sunny Wong
Chromatography & Mass Spectrometry | LAP-010 | 510A, 9W | Fast Protein Liquid Chromatography System | GE Health AKTA avant 150 | Flow rate up to 150 mL/min Max. operating pressure up to 725 psi UV detection wavelength: 190-700 nm Integrated fraction collector: up to 1.8 L External fraction collector for collecting organic fraction | $60/hour | Billy Cheng
Chromatography & Mass Spectrometry | LAP-012 | 510A, 9W | Liquid Chromatography Mass Spectrometry System - Triple Quadrupole/Ion Trap | SCIEX QTRAP 5500 | ESI & APCI ion source High sensitivity: down to PPB level Trap mode for analyte confirmation Autosampler handles up to 576 samples in 96-well plate | $300/hour | April Kwan
Incubation | LAP-013-3 | 510B, 9W | Shaking Carbon Dioxide Incubator | INFORS HT Multitron Pro | Max. capacity: 6 x 5 L Temp. range: 20oC below ambient to 80oC Speed range: 20-400 rpm With direct steam humidification | $100/day | Sunny Wong
Sample Processing | LAP-015 | 510A, 9W | Preparative Membrane Ultrafiltration System | Sartorius SartoFlow Advanced | Filter area: 0.1-0.5 m2, 0.7-2.1 m2 With 10 L double jacket tank with sight glass | $60/hour | Billy Cheng
Analytical Instruments | LAP-016 | 510A, 9W | Capillary Electrophoresis System | Beckman Coulter PA 800 Plus | Detector: UV, PDA, LIF Temperature control in sample storage and capillary Capacity: 48 vials x 2 | $120/hour | Billy Cheng
Genomic Analysis | LAP-018-1 | 701, 17W (Sequencing Room) | Genetic Sequencer | Illumina NextSeq 500 | High output: up to 120 Gb in 29 hrs (2 x 150 bp) Mid output: up to 39 Gb in 26 hrs (2 x 150 bp) > 75% bases higher than Q30 at 2 x 150 bp | $3000/run (SR, 12 hrs) $4200/run (MR, 20 hrs) $5600/run (LR, 30 hrs) | Ying Ying Lee
Genomic Analysis | LAP-018-2 | 701, 17W (QC Station) | Bioanalyzer System | Agilent 2100 Bioanalyzer | Chip based system Minimal sample consumption (1-4 µL) | $120/hour | Ying Ying Lee
Genomic Analysis | LAP-018-3 | 701, 17W (Pre-PCR Room) | Focused-ultrasonicator | Covaris M220 | Generate fragment sizes between 150 and 5,000 bp | $120/hour | Ying Ying Lee
Flow Cytometry | LAP-019 | 101-103, 15W | Cell Sorter | BD FACSAria Fusion | 5 lasers - 375, 405, 488, 561, 640 nm Up to 14 colors detection With class II Type A2 biosafety cabinet Supports 4-way sort, 96-well single cell sorting | $600/hour (subject to extra labour charge) | Sally Cheung
Chromatography & Mass Spectrometry | LAP-020 | 510A, 9W | Liquid Chromatography Mass Spectrometry System - Triple Quadrupole/TOF | SCIEX TripleTOF 6600 | 30,000 resolving power in TOF MS/MS mode Q1 mass range up to 2250 m/z SWATH 2.0 2D nano-LC system | $600/hour | Billy Cheng
Imaging & Microscopy | LAP-021 | 510A, 9W | Cell Imaging Reader | BioTek Cytation 5 | 4 Fluorescence channels - DAPI, GFP, RFP, Cy5 Objectives - 4X, 10X, 20X Sample format - well plate, slide, petri dish, flask | $60/hour | Sunny Wong
Imaging & Microscopy | LAP-022 | 701, 17W (Imaging Core) | Laser Scanning Confocal Microscope | Carl Zeiss LSM 880 | 2 PMT, 1 GaAsP, and 1 Airyscan detectors Confocal resolution down to 140 nm 6 laser lines - 405, 458, 488, 514, 561, 633 nm | $360/hour | Christy Chan
Genomic Analysis | LAP-023 | 701, 17W (Sequencing Room) | Genetic Sequencer | Illumina MiSeq | Up to 15 Gb in 56hrs (2 x 300 bp) > 70% bases higher than Q30 at 2 x 300 bp | $1000/run (SR, <6 hrs) $1900/run (MR, <24 hrs) $2700/run (LR, <48 hrs) $3500/run (ULR, <72 hrs) | Ying Ying Lee
Imaging & Microscopy | LAP-024 | 510A, 9W | Confocal High Content Screening System | Molecular Devices ImageXpress Micro Confocal | Confocal imaging 5 fluorescence channels - DAPI, FITC, TRITC, Texas Red, Cy5 Objectives - 4X, 10X, 20X, 40X MetaXpress software analysis | $300/hour | Billy Cheng
Genomic Analysis | LAP-025 | 701, 17W | Digital PCR | Bio-Rad QX200 | Droplet based Up to 96 samples per run TaqMan Hydrolysis Probe and EvaGreen Assay | $300/column | Kim Lam
Bioreactors | LAP-026-1 | 525A, 11W | Bioreactor - Mammalian Culture | Sartorius Biostat B | Glass vessels or culture bag in rocker Temperature, pH, DO monitoring and control | $600/day/vessel (subject to extra labour charge) | Billy Cheng
Bioreactors | LAP-026-2 | 510B, 9W | Bioreactor - Microbial Culture | Sartorius Biostat B | Glass vessels Temperature, pH, DO monitoring and control | $600/day/vessel (subject to extra labour charge) | Billy Cheng
Analytical Instruments | LAP-027 | 510A, 9W | Multimode Microplate Reader | Molecular Devices SpectraMax iD5 | Absorbance, Fluorescence, Luminescence, Time-Resolved Fluorescence detection Dual injectors Online and offline touch screen control | $60/hour | Sunny Wong
Analytical Instruments | LAP-028 | 510A, 9W | Biomolecular Interaction Analyzer | ForteBio Octet RED96e | 8 channels Measures 25 ng/mL to 2 mg/mL of IgG concentration in crude matrices Microfluidics-free Dip and Read™ format Sample plate cooling for temperature-sensitive proteins | $300/hour | Billy Cheng
Flow Cytometry | LAP-029 | 101-103, 15W | Clinical Flow Cytometer | BD FACSLyric | Three lasers (Violet, Blue & Red), 10-color detection Universal loader supports 30- or 40-tube racks | $300/hour | Sally Cheung
Incubation | LAP-030 | 510B, 9W | Refrigerated Shaking Incubator | New Brunswick Innova 42R | Temp range: 20oC below ambient to 80oC (min. 4oC) Speed range: 25-400 rpm | $100/day | Sunny Wong
Flow Cytometry | LAP-031 | 101-103, 15W | Flow Cytometer | Beckman Coulter Cytoflex | Three lasers (Violet, Blue & Red), 13-color detection Universal loader and plate loader supports 96-well sample loading | $300/hour | Sally Cheung
Imaging & Microscopy | LAP-032 | 701, 17W (Imaging Core) | Super resolution Laser Scanning Confocal Microscope | Leica Stellaris STED | Pulsed excitation light source from 485 nm to 685 nm Laser 405 DMOD for fluorescence imaging with dyes such as DAPI or Hoechst STED Laser: Visible Fiber Laser 775 nm | $360/hour | Christy Chan
Sample Processing | LAP-033 | 708-716, 17W (Extraction Room) | Automated DNA extraction System | QIAcube Connect | Automates over 80 QIAGEN spin column kits with over 140 standard protocols for DNA, RNA and protein sample processing | $100/run | Brian Lo
Imaging & Microscopy | LAP-034 | 101-103, 15W | Confocal high content screening system | Leica Mica | Widefield, confocal, THUNDER, LIGHTNING, Z-stack and time-lapse imaging Excitation source: 365, 405, 470, 488, 555, 561, 625, 638 nm and brightfield Allows live cell imaging and hypoxia studies Automation and AI-supported analysis | $300/hour | Sally Cheung
Imaging & Microscopy | LAP-035 | 107A, 15W | High Throughput Slide Scanning system | Carl Zeiss Axioscan 7 | Highly automated and scans up to 100 slides | $360/hour | Sally Cheung
Analytical Instruments | LAP-036 | 510A, 9W | Nanoparticle Tracking Analyzer | Particle Metrix ZetaView | Measurement of nanoparrticles down to 10 nm in suspension With red and blue laser Measures size, concentration, zeta potential and fluorescence | $120/hour | Sunny Wong
Sample Processing | LAP-037 | 525B, 11W | Preparative Freeze-drying System | Labfreez FD-100-F-R | Freeze dries sample with 1-2 cm thickness in less than 48 hours Tray height 70 mm Shelf temperature range -50°C - 70°C ±1°C | $500/day | April Kwan
Genomic Analysis | LAP-038 | 701, 17W (Sequencing Room) | High throughput single cell partitioning system | 10x Chromium X | Use advanced microfluidics to perform single cell partitioning and barcoding in a matter of minutes Recover 2,000-20,000 cells per channel, 65% cell capture rate, 0.4% doublet rate per 1,000 cell in HT kit | $300/run | Ying Ying Lee
Genomic Analysis | LAP-039 | 701, 17W (Sequencing Room) | Optical Genome Mapping System | Bionano Saphyr | A genome imaging tool for high-speed, high-throughput, high-resolution structural variant detection and analysis 99% Sensitivity, 2% False Positive Rate, 1% Allele Fractions | $1900/run (SR, <24 hrs) $2700/run (MR, <48 hrs) $3500/run (LR, <72 hrs) | Ying Ying Lee
Chromatography & Mass Spectrometry | LAP-040 | 611, 6W | Gas Chromatography-Mass Spectrometer | Shimadzu QP-2020 NX | EI mode High sensitivity: m/z 272 S/N ≥ 2000 Mass range up to m/z 1090 High-Speed Scan Rate: 10000 u/sec | $300/hour | Amber Lee
Genomic Analysis | LAP-041 | 701, 17W (Sequencing Room) | Long Read Sequencer | Oxford Nanopore GridION | Sequence full length RNA or DNA Various library prep kits available: Direct, PCR, bar-coding | $1900/run (SR, <24 hrs) $2700/run (MR, <48 hrs) $3500/run (LR, <72 hrs) | Kim Lam
Incubation | LAP-042 | 510B, 9W | Shaking Carbon Dioxide Incubator | Eppendorf Innova S41i | -- | $100/day | Sunny Wong
Incubation | LAP-043 | 510B, 9W | Shaking Carbon Dioxide Incubator | Eppendorf Innova S41i | -- | $100/day | Sunny Wong